## Slide 1: PCB & GUI Design for Photo Current Measurements
Notes: Subtitle: for photo current meaasurements
Slide numebrs

## Slide 2: The Project

## Slide 3: The Issue – consistent method to test samples
Specifications:
  Fast
  Accurate
  Reliable
Notes: Add photo of microscode

## Slide 4: Two Board Solution

## Slide 5: Main Board PCB
Easy way to test the samples on the mezzanine board
High fidelity connection
Easily repeatable experiments
Notes: Visibly show a connection to the kiethley
-current meter

## Slide 6: Design Features
SMA Cables for testing
M.2 Slot to connect Mezzanine Boards to Main Board
Standoffs to connects to scanning photo-current set up
Notes: kiehtely

## Slide 7: Process & Hurdles
Manufactured Test Board at the Rodgers’ Lab
  Tolerance Issues
Soldered the Components Using Reflow Oven
  Issue with Solder Bridging
Notes: Rodger’s Lab board
Picture of solder bridge

## Slide 8: Final Result

## Slide 9: GUI Interface
Needed a simple way to adjust variables
Live data plotting
Save all the data as a mat file

## Slide 10: Design
Ability to change specified values
Home the Motor
Connect to the Kiethley
Ability to save the data and the results
Notes: Specifics can remove – edit to movement instructions (more broad)

## Slide 11: Take Aways
Hands-on Lab Experience
  PCB Manufacturing
  Reflow Oven
Designing within specific tolerances
Learning Mat Lab
  How to design a GUI

## Slide 12: Summer Plans
Headed back to Oregon!
Working as a mentor for MIT Futuremakers
I plan to work on a few projects
  Smash Ulitimate AI
  - Modded Game Boy Advance